

Part 3, Section 6

Repair and alterations - SUPPLEMENTS

SUPPLEMENT x REPAIR and ALTERATIONS OF pressure vessels in

liquefied petroleum GAS service
Sx.1
SCOPE

This Supplement provides general and specific requirements that apply to the repairs or alterations to pressure vessels designed for storing Liquid Petroleum Gas (LPG) and fabricated in accordance with the ASME Boiler and Pressure Vessel Code, Section VIII, Division 1 or the API-ASME Code for Unfired Pressure Vessels for Petroleum Liquid and Gases. When the standard governing the original construction is not the ASME Boiler and Pressure Vessel Code, Section VIII, Division 1 or the API-ASME Code for Unfired Pressure Vessels for Petroleum Liquid the requirements of paragraph 1.2 b), Part 3, Section 1 shall apply.  In addition to this supplement, the applicable paragraphs of Part 3 of the NBIC shall be met. Vessels used for anhydrous ammonia service shall not be considered for repair or alteration in accordance with this Supplement.
Sx.2
GENERAL AND ADMINISTRATIVE REQUIREMENTS
a) Refer to Section 1 of this Part for all applicable post construction activities pertaining to general and administrative requirements.

b) Repairs or alterations shall conform to the edition of the ASME Code or standard most applicable to the work.

Sx.3
WELDING 
Refer to Section 2 of this Part for all applicable post construction activities pertaining to welding requirements.
Sx.4
REQUIREMENTS FOR REPAIRS AND ALTERATIONS 

1) Refer to Section 3 of this Part for all applicable post construction activities pertaining to requirements for repairs and alterations.
2) Radiographic or Ultrasonic Examination are considered to be suitable alternative Nondestructive Examination methods to assure complete removal of the defect as described in paragraph 3.3.4.1 of this Part.

Sx.5
EXAMINATION AND TESTING
Refer to Section 4 of this Part for all applicable post construction activities pertaining to examination and testing.
Sx.6
CERTIFICATION / DOCUMENTATION AND STAMPING
a) Section 5 of this Part is applicable for all post construction activities pertaining to certification / documentation and stamping.
b) The “R” Certificate Holder shall assure all repairs or alterations involving a change to the following are recorded on the proper NBIC Form and marked on the NBIC nameplate or stamping without changing the required format of the NBIC markings.
1) Service for which the container is designed (for example, underground, aboveground, or both)
2) Dip tube length. 

3) Maximum filling limit with liquid temperature reference.
Sx.7
INSPECTION
Refer to Supplement 7 of Part 2 Inspection, for all applicable post construction activities pertaining to inspection.
Sx.8
COATINGS
When coatings are reapplied the user should verify the coating is compatible with any coating that remains intact and is suited for the intended service application.

















































































































































































































































































































































































































































































































































































































































































































































































































































































